## Sheet1 (2)
Power_budget_v1
consumption
indoor light1 | 20 | W | 12 | V | 1.6667 | A
indoor light2 | 30 | W | 12 | V | 2.5 | A
1x laser | 0.005 | W |  |  | 0.01 | A
10x laser | 0.05 | W | 5 | V | 0.1 | A
Arduino due | 1 | W | 9 | V | 0.1 | A
| 51.055 | W |  | total current pulled | 4.3767 | A
Battery power
*extra_batteries(1x 100AH) | 100 | Ah | 12 | V | 1200
1st battery | 20 | Ah | 12 | V | 240 | Wh
2nd battery | 20 | Ah | 12 | V | 240 | Wh
3rd battery | 100 | Ah | 12 | V | 1200 | Wh | NO SUN AT ALL
total | 240 | Ah |  |  | 2880 | Wh | discharge time | 56.4098 | hours
[7 empty] | discharge time | 2.3504 | days
Solar Panels
solar pannel1-2-3-4 | 400 | W
solar pannel5-6 | 0 | W
total | 400 | W
Sun light hours (prime time) | 5 | h
hours in a day | 24 | h
%of sunlight per day | 20.8333 | %
Average solar output per day | 83.3333 | W
Current suppplied by solar panel | 6.9444 | A
| 1.78 | A | Current measuring
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
x | time of the day |  | 8h00 | 12h00 | 16h00 | 20h00 | 0h00 | 4h00 | 8h00 | 12h00 | 16h00 | 20h00 | 0h00 | 4h00 | 8h00 | 12h00 | 16h00 | 20h00 | 0h00 | 4h00 | 8h00 | 12h00 | 16h00 | 20h00 | 0h00 | 4h00
v | Battery life in hours |  | 0 | 0 | 0 | -4 | -8 | -12 | -16 | -12 | -8 | -8 | -12 | -16 | -16 | -12 | -8 | -8 | -12 | -16 | -16 | -12 | -8 | -8 | -12 | -16
| Battery capacity in Wh |  | 2880 | 2880 | 2880 | 2880 | 2828.945 | 2777.89 | 2726.835 | 2759.1133 | 2791.3917 | 2823.67 | 2772.615 | 2721.56 | 2670.505 | 2702.7833 | 2735.0617 | 2767.34 | 2716.285 | 2665.23 | 2614.175 | 2646.4533 | 2678.7317 | 2711.01 | 2659.955 | 2608.9

## Sheet1
Power_budget_v1
consumption
indoor light1 | 20 | W | 12 | V | 1.6667 | A
indoor light2 | 20 | W | 12 | V | 1.6667 | A
1x laser | 0.005 | W |  |  | 0.01 | A
10x laser | 0.05 | W | 5 | V | 0.1 | A
Arduino due | 1 | W | 9 | V | 0.1 | A
| 41.055 | W |  | total current pulled | 3.5433 | A
Battery power
*extra_batteries(1x 100AH) | 100 | Ah | 12 | V | 1200
1st battery | 20 | Ah | 12 | V | 240 | Wh
2nd battery | 20 | Ah | 12 | V | 240 | Wh
3rd battery | 100 | Ah | 12 | V | 1200 | Wh | NO SUN AT ALL
total | 240 | Ah |  |  | 2880 | Wh | discharge time | 70.1498 | hours
[7 empty] | discharge time | 2.9229 | days
Solar Panels
solar pannel1-2-3-4 | 400 | W
solar pannel5-6 | 0 | W
total | 400 | W
[8 empty] | Function of the discharge : | Power in the
Sun light hours (prime time) | 5 | h
hours in a day | 24 | h
%of sunlight per day | 20.8333 | %
Average solar output per day | 83.3333 | W |  |  |  |  | WITH SUN
[7 empty] | discharge time of the system |  | hours
[8 empty] | 0 | days
Current suppplied by solar panel | 6.9444 | A
[7 empty] | Battery charging time ( hour ) = Battery capacity ( In Ah ) / Current supplied ( In A ) | [11 empty] | 70
| 1.78 | A | Current measuring |  |  |  | Battery charging time | 70.5652 | hours | [8 empty] | 0 | > | 100
[18 empty] | 51.7328 | 67.7328
[7 empty] | Battery discharging time = Battery capacity ( In Ah ) / Current drawn from battery ( In A ) | [10 empty] | 76.3778 | > | 100 | 23.6222 | percent discharge
[7 empty] | Battery discharging time | 67.7328 | hours
[19 empty] | 16.5356 | hours to fully charge the battery
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
x | time of the day |  | 8h00 | 12h00 | 16h00 | 20h00 | 0h00 | 4h00 | 8h00 | 12h00 | 16h00 | 20h00 | 0h00 | 4h00 | 8h00 | 12h00 | 16h00 | 20h00 | 0h00 | 4h00 | 8h00 | 12h00 | 16h00 | 20h00 | 0h00 | 4h00
v | Battery life in hours |  | 67.7328 | 67.7328 | 67.7328 | 63.7328 | 59.7328 | 55.7328 | 51.7328 | 55.7328 | 59.7328 | 59.7328 | 55.7328 | 51.7328 | 51.7328 | 55.7328 | 59.7328 | 59.7328 | 55.7328 | 51.7328 | 51.7328 | 55.7328 | 59.7328 | 59.7328 | 55.7328 | 51.7328
| Battery capacity in Wh |  | 2880 | 2880 | 2880 | 2880 | 2838.945 | 2797.89 | 2756.835 | 2799.1133 | 2841.3917 | 2883.67 | 2842.615 | 2801.56 | 2760.505 | 2802.7833 | 2845.0617 | 2887.34 | 2846.285 | 2805.23 | 2764.175 | 2806.4533 | 2848.7317 | 2891.01 | 2849.955 | 2808.9